## Slide 1
FOOD & BEVERAGE –– WASTEWATER –– LABORATORY –– PHARMACEUTICAL –– CONTRACT MANUFACTURING
201 Connecticut Drive, Burlington, NJ 08016 USA Ph (609) 386-8770 Fax (609) 386-8438 www.ipcol.com mkt@ipcol.com
FILTER MEMBRANE CLEANING

## Slide 2
Presenter Overview
International Products Corporation, incorporated in 1923, manufactures specialty cleaners and lubricants. The company has a history of over 30 years of successful selling to the filter membrane industry.
All products are manufactured in the U.S.A. in their New Jersey headquarters and are available worldwide.
An ISO 9001:2008 Certified Company
Filter Membrane Cleaning

## Slide 3: Today’s Agenda
Global Water Supply Dilemma
Industries’ Challenges
Industries’ Alternatives
General Overview of Chemical Effects on Membranes
Cleaners
Laboratory Cleaning Trials / Case Scenario
Conclusions
Questions
3
Slide Number
Filter Membrane Cleaning

## Slide 4: Water, Water, Water
4
Slide Number
Filter Membrane Cleaning
Our most vital natural resource (after air)
Fixed amount of water on earth
Significant supply disparity worldwide
Usage varies significantly
  Gallons/capita/day/country: 1 – 145
Need for potable water will continue to escalate
  Increase in world population
    1900 – 1.65 b
    2000 – 6.1b
    2050 projection: 7.5b – 10.6b
  Increase in agricultural products
    70% water for crops
  Greater energy demands
  Changes in lifestyle
Source: United Nations, NY 2004, Dept of Economic and Social Affairs. World Populations to 2300

## Slide 5: Industries’ Challenges
20% water used in industries’
Regulatory requirements
  MARPOL Treaty, FDA, USDA, EPA, CEFAS, local regulations, etc.
Economic Pressures
  Reduced resources, staff, etc.
  Minimize downtime / Maximize ROA
Desalination and water re-use on the rise
5
Slide Number
Filter Membrane Cleaning

## Slide 6: KEEP THOSE MEMBRANES WORKING!!!

## Slide 7: Decisions, Decisions, Decisions
Crisis control or preventive maintenance?
  Sustainable?
Trial and Error?
Outsource?
  “Let them worry about it”
  Lose competency
  Lose control
Partnership with specialty chemical manufacturer?
7
Slide Number
Filter Membrane Cleaning

## Slide 8: There IS Help! ! !

## Slide 9: Membrane Cleaning Basics

## Slide 10: General Membrane Compatibility & Performance Factors
Chlorine tolerance
Temperature
Pressure
pH
  < 2; > 10.5
Solvent cleaners
Cationic surfactants
Low HLB nonionics
10
Slide Number
Filter Membrane Cleaning

## Slide 11
11
Slide Number
Filter Membrane Cleaning
Membrane Fouling
Mechanism
  Most membrane surfaces are negatively charged
  Van der Waal forces of soils create a hydrophobic attraction to the negative membrane surface
  Salt bridges – multivalent cations allow for a denser soil layer to coat the membrane
Soils
  Natural organic matter
  Proteins
  Biofilm
  – Multivalent cations
  – Polymers
  – Scale

## Slide 12
Introduce functional groups to the fouling layer
  Creates an electostatic repulsion from the membrane surface
  Hydrophilic in nature
Cleaner types
  Caustic
  Bleach
  Oxidizers
  Enzymes
  Surfactants
  Acids
  Chelants (EDTA)
  Formulated mixtures
12
Slide Number
Cleaning Mechanism
OIL
_
_
_
_
_
_
_
_
_
_

## Slide 13: Cleaner Manufacturers
Make (import) and sell one chemical
  Sulfuric Acid, Caustic
Each chemical targets one type of soil
Initial lower costs
Commodity Manufacturer
Specialty Manufacturer
Formulated blends of ingredients
  Tested, proven, consistent, synergy
Economical in long run
Each product attacks many soils
Product / Cleaning regimen tailored to specific application
Certified quality assurance program
Technical expertise
Customer assistance
13
Slide Number
Filter Membrane Cleaning

## Slide 14
Alkaline Cleaners
Effective against oils and greases
Acid Cleaners
Effective against metals (iron, calcium, magnesium), oxides, inorganics, scale
14
Slide Number
Filter Membrane Cleaning
Alkaline and Acid
pH > 9
pH < 4
Surfactants and Builders
Citric Acid
  Anionic and nonionic surfactants
    Dissolve/emulsify oils and greases
  Builders and alkalinity
    Improves detergency
    Improves water quality
    Allows surfactants to work better
  Safe choice of acid
    Organic
    Compatible
    Biodegradable
    Non-corrosive
H2O; NaCl
Cl--
O
H O
Na+
O--
O
Na+
+ HCl

## Slide 15
15
Slide Number
Filter Membrane Cleaning
To chelate or not to chelate?
Assets
  Improves water quality
  Grabs metals
  Increases detergency
  Alkaline and acid types
Liabilities
  Sequestered metals pass through membranes
  Many don’t biodegrade
  pH extremes

## Slide 16
16
Slide Number
Filter Membrane Cleaning
The most prevalent chelant ─ EDTA
When EDTA recovery is necessary,
  Precipitate EDTA with acid
  Precipitate metals by reduction / oxidation
  Precipitate metals with high pH or sulfide
  Displace metal with another
  Proprietary polymers eliminate metals/chelant
        OR CHOOSE
    - Effective biodegradable chelants

## Slide 17
17
Slide Number
Filter Membrane Cleaning
  Pressure increases up to 10%
  Flux decreases up to 10%
  Permeate quality decreases up to 10%
When to clean your membranes?
10% RULE

## Slide 18: Permeate Quality
Methods:
HPLC / IC
Conductivity
Hardness
pH
Total dissolved solids
Typical IC Chromatogram of Anions
18
Slide Number
Filter Membrane Cleaning

## Slide 19
19
Slide Number
Filter Membrane Cleaning
Industry | Primary Foulant | Secondary Foulant(s) | Cleaner Type(s)
Municipal Wastewater | Oils, greases, scale, natural organic matter | Metals | Alkaline
Metalworking (Industrial Waste Water) | Oils, greases, salts | Metals | Alkaline or Acid
Pharmaceutical | Proteins Oils | Oils Proteins | Enzyme or Alkaline
Dairy | Milkstone | Protein | Acid or Enzyme
Food | Oils Protein | Protein Oil | Alkaline or Enzyme
Match soil to cleaner - Soils in Major Industries

## Slide 20
20
Slide Number
Filter Membrane Cleaning
Laboratory Cleaning Experiments
Equipment used:
  Cross flow benchtop filtration unit
Membrane used:
  Polyethersulfone UF 5000 MWCO
Foulants used:
  Emulsified coolant
Make-Up Water:
  RO or hard water (200 ppm) as indicated
2% Cleaner concentration at room temperature
Typical baseline flux values:
  ~ 35 Gal/ft2/day
Standard rinse cycle:
  One hour at 200 PSIGs
Standard fouling and cleaning cycle:
  Thirty minutes at 400 PSIGs

## Slide 21
21
Slide Number
Filter Membrane Cleaning
IPC’s Membrane/Cleaner Evaluation Unit

## Slide 22
Chart: F l u x R e c o v e r y
| Base | Foul | Rin1 | Rin2 | Rin3 | Clnr | Rin1 | Rin2 | Rin3 | Rin4
favorable | 100 | 18 | 32 | 42 | 44 | 31 | 70 | 97 | 107 | 105
unfavorable | 100 | 17 | 29 | 33 | 35 | 23 | 58 | 76 | 78 | 81
22
Slide Number
Filter Membrane Cleaning
Cleaning Profile
Favorable vs. Unfavorable
Base | Foul | Rin1 | Rin2 | Rin3 | Clnr | Rin1 | Rin2 | Rin3 | Rin4

## Slide 23
23
Slide Number
Filter Membrane Cleaning
Optimal Effect of Formulated Product*
According to the Concentration / % Recovery curve a concentration of 2.4% formulated product* will theoretically provide optimal cleaning performance in this situation (101.26% Recovery).
*Micro-90® Concentrated Cleaning Solution
Concentration - % formulated product *
on Flux Recovery

## Slide 24
24
Slide Number
Filter Membrane Cleaning
Synergy of Formulated Membrane Cleaner
Conclusion :
The formulated cleaner has better results than its individual components.
Chart: Ingredients and Formulated Product
| Chelant | Surfactants | Formulated Product
 | 0.62 | 0.71 | 0.95
1 + 1 = 3!

## Slide 25
25
Slide Number
Filter Membrane Cleaning
Flux Recovery by Cleaner Type and by Water Quality
Chart: Cleaner Type
| Formulated Alkaline | Formulated Acid | Formulated Enzyme | Formulated Alkaline with biodegradable chelant
RO (High Quality) | 0.963 | 1.085 | 0.775 | 1.01
Hard Water (200 ppm) | 0.872 | 0.805 | 0.814 | 0.893
Water Quality
Conclusion:
Water quality affects detergency.
Match cleaner to soil

## Slide 26
Chart: Soil Type
| Blood & Guts (Protein) | Hard Water with Iron (600ppm)
Formulated Alkaline | 81.25 | 90.37
Formulated Acid | 70.12 | 94.72
Formulated Enzyme | 98.76 | 86.96
Formulated Alkaline with biodegradable chelant | 93.74 | 92.85
26
Slide Number
Filter Membrane Cleaning
Matching Cleaner to Soil Type
Conclusion:
It is important to match your cleaner to your soil – different cleaners perform better on different soils.

## Slide 27
27
Slide Number
Filter Membrane Cleaning
The Effects of Using Cleaners in Series
Flux vs. Cleaner Series and Water Quality
Conclusion:
Water quality affects flux.
Alkaline followed by acid is best in this trial.
What’s Next?
Optimal concentration of cleaners
Chart: Flux Recovery
| Acid (1) | Alkaline (2) | Alkaline (1) | Acid (2) | Acid (1) | Alkaline (2) | Alkaline (1) | Acid (2)
 | 0.948 | 0.902 | 0.9 | 0.98 | 0.805 | 0.869 | 0.842 | 0.972
RO Water
Hard Water (200 ppm)

## Slide 28
28
Slide Number
Filter Membrane Cleaning
Case Study: Overview
Bilge water treatment customer switched to a d’limonene based cleaner
  Pleasant fragrance
  Better oil / water separation
  Better flux results
  Worked faster
Lab test:
  100,000 MWCO membrane – modified polyacrylonitrile (PAN)
  Formulated alkaline cleaner with d’limonene

## Slide 29
29
Slide Number
Filter Membrane Cleaning
Original Alkaline Cleaner
D`Limonene Based Cleaner
Chart: % Flux Recovery
| Run 1 | Run 2 | Run 3 | Run 4 | Run 5 | Run 6 | Run 7 | Run 8 | Run 9 | Run 10 | Run 11 | Run 12
% Recovery | 153.3962 | 96.4401 | 95.9474 | 115.0377 | 81.4081 | 85.0953 | 101.7516 | 98.8794 | 114.2193 | 111.0824 | 106.0408 | 100.3746
Chart: Actual Flux
| Run 1 | Run 2 | Run 3 | Run 4 | Run 5 | Run 6 | Run 7 | Run 8 | Run 9 | Run 10 | Run 11 | Run 12
Flux | 725.286 | 717.554 | 799.769 | 631.9046 | 982.8712 | 816.5752 | 846.4656 | 715.9186 | 762.4011 | 886.8967 | 769.2472 | 743.1607
Chart: % Flux Recovery
| Run 1 | Run 2 | Run 3 | Run 4 | Run 5 | Run 6 | Run 7 | Run 8 | Run 9 | Run 10 | Run 11 | Run 12
% Recovery | 70.79 | 99 | 110.12 | 94.8 | 102.85 | 96.62 | 103.64 | 98.72 | 87.07 | 120.43 | 96.25 | 164.64
Chart: Actual Flux
| Run 1 | Run 2 | Run 3 | Run 4 | Run 5 | Run 6 | Run 7 | Run 8 | Run 9 | Run 10 | Run 11 | Run 12
Flux | 606.3885 | 575.731 | 616.0012 | 561.5779 | 570.589 | 537.5515 | 541.6455 | 520.6231 | 427.4565 | 520.6231 | 508.7476 | 827.8742
Case Study: Comparison of Cleaners Lab-Scale Cross Filtration Membrane

## Slide 30
Case Study: Microscopic Evaluation
14,720x magnification
Organic and iron oxide particles
Ridge developed from top -center to bottom-left of the membrane
Conclusion: D’Limonene-based cleaner is not recommended for this cleaning application
Slide Number
30

## Slide 31: Conclusions
Formulated cleaners offer many benefits
  Custom-formulated – Performance tested
  Compatibility tested – Consistency
  Quality assurance – Long-term performance
Specialty manufacturers
  Technical know-how – Performance / compatibility tests
  – Share knowledge to keep experience in-house
31
Slide Number
Filter Membrane Cleaning

## Slide 32
Contact us to request free cleaner samples.
Lab Trials / Membrane Compatibility tests also available.
International Products Corporation
201 Connecticut Drive, Burlington NJ 08016 USA
Telephone: 609-386-8770 Facsimile: 609-386-8438
Email: mkt@ipcol.com Website: www.ipcol.com
Thank you!
Contact Us
32
Slide Number
Filter Membrane Cleaning